UCN kicker
control
46MHz signal
from 1VM4
Enable interlock from
UCN source
Interlocks
Enable interlock from
beamline protection
Notch cleaniness
kick inhibit
Kicker
Timing Module
(KTM)
[Edev Group]
Kicker
Sequence Module
(KSM)
[Edev Group]
Kicker
Sequence Module
(KSM)
[Edev Group]
Kicker Power
Supply
(Danfysik)
kick timing
signal
Magnet ramp
up/down
signal
(optical)
Kicker settings
and status
(ethernet/SCPI)
Power Supply
Monitor Voltages
EPICS control
system
[Control Group]
EPICS control
system
[Control Group]
EPICS control
system
[Control Group]
Monitor Voltage
measure
[??]
Signal lines
Control lines
Signal from
cyclotron
blanking pulser
Kicker time
Offset control
Notch cleaniness
control
Kicker sequence
to UCN group
Kick sequence
Kick fraction
Digitized 1VM4
measurements
and 1VM4
'cleaniness'